## Routine Inspection Checklist
Walk the same route every time so results are comparable. Record 'checked, nothing found' as well as faults — a log containing only faults cannot tell you whether anyone looked.
# | Area | What to look at | OK | Issue found | Job ref raised
1 | Main entrance | Doors, closers, mats, lighting, signage
2 | Stair cores | Lighting, handrails, obstructions, cleanliness
3 | Lift lobbies | Call buttons, indicators, floor condition
4 | Corridors | Lighting, floor, walls, doors
5 | Bin store | Door, cleanliness, overflow, pests
6 | Plant room | Leaks, noise, access, housekeeping
7 | Roof and gutters | Debris, standing water, visible damage
8 | External areas | Lighting, surfaces, drainage, fencing